## LPG Safety Requirements for Exhibitors

When using LPG at events it is really important to follow some basic rules and regulations.  Below is a short description of what is expected from you as an exhibitor wishing to utilise LPG on site.  Failure to comply with LPG safety requirements may result in LPG use being prohibited or removal from site.

## PRE-EVENT SUBMISSIONS

Submit the following at least 4 weeks before the event:
• Risk Assessment
• Fire Risk Assessment
• Public Liability Insurance
• Valid Gas Safety Certificate
• LPG appliance and cylinder details

## LPG SAFETY REQUIREMENTS

• Cylinders must be upright and secured
• Minimum 1m from combustibles and ignition sources
• Minimum 2m from drains and below-ground openings
• Appliances must be commercial grade and UKCA/CE marked
• Jubilee clips are prohibited

## 3. FIRE SAFETY

• Suitable fire extinguisher required
• Fire blanket required where cooking takes place
• Emergency shut-off access must remain clear

## 4. INSPECTIONS & ENFORCEMENT

All LPG installations are subject to review of the submitted documentation by KRM Safety Management and on-site inspection by the appointed show Gas Sage Registered Engineers.